Dicom  viewer

- Backgound Knowledge

- Dicom =  국제 표준 의료 영상 ( the international standard medical imaging information)

- Dicom viewer = software which will interpret the dicom information and display it as an image.

- 사용 언어 = C#

- start UI

- Button explaination

- open : display dicom medical image

- header : display dicom header

- ROI : drawing ellipse on the dicom image and measure every pixel in the ellipse

- W.Level : adjust contrast and brightness dicom image

- JPG : save dicom image into JPG file

- Snip : make snip image

- Snip save : save snip image into JPG file

- display dicom image

- click “ open button “  ->   click “ ser010img00001 “

- measure dicom

- measure every pixel in the ROI ellipse

- click  “ ROI button “ -> mouse left click down on the image -> drag to right bottom side -> mouse left click up

- x1,y1 = first mouse click coordinate(첫번째 마우스 클릭 좌표)

- x2,y2 = second mouse click coordinate (두번쨰 마우스 클릭 좌표)

- Number of Pixel =  number of pixel in the ellipse

- Max = the maximum pixel value in the ellipse

- Min = the minimum pixel value in the ellipse

- Mean = the mean value of every pixel in the ellipse (평균)

- Std = the standard deviation of every pixel in the ellipse (표준편차)

- make ROI measurement excel file  in the D drive

- display dicom header

- dicom header = the information of dicom

- click “ header button “  ->  file  ->  load  ->   click “ 8786098_POST ”